Jaewon's blog
How to import TDT Tank into MATLAB
Posted on Oct 4, 2010
## 1. Introduction
Tucker-Davis Technologies (TDT) is a company supplying signal processing systems. The signals recorded by their System 3 are stored in a database called TTank and can be read out later. TDT provides application programming interfaces (APIs) for TTank access through ActiveX DLLs and, in any development environment where ActiveX can be incorporated, users can make TTank applications easily.
For example, in MATLAB, you can create a TTank object with the following command. (You need to install OpenDeveloper package before typing the command.)
1	TTX = actxcontrol('TTank.X');

Then you can call any API functions listed in the OpenDeveloper reference manual with the object. (Some code examples are installed with the OpenDeveloper package in C:\TDT\OpenEx\Examples\TTankX_Example\Matlab) If you do not have a TDT system and just want to read TTank, then you can try out TDT NeuroShare Kit. I have not tested it , but I guess it works in a similar way.
However, sometimes it is not convenient to use particular DLLs to access data, since it means that you are bound to the MS Windows platform and cannot read your data without the TDT software package. Considering that you never know how long you will be able to get necessary technical support from the vendor, it is probably not a bad idea to learn how to read the binary format of the TTank directly.
## 2. Structure of TTank
A TTank can have many blocks. Each block contains data from one continuous recording and consists of 4 files: *.TBK, *.TDX, *.TEV, *.TSQ. Among them, it is TEV and TSQ that contain real data. The other two are used for an indexing purpose.
WARNING: Although TBK and TDK may not be absolutely necessary to retrieve data, most of TDT software becomes unable to read TTanks if those index files do not match with the records in TEV and TSQ. Therefore, DO NOT try to modify the contents of TTanks if you want to use TDT software (e.g., OpenSorter) on them. Rebuilding the index files requires technical support from TDT.
The TSQ file is a heap of 40-byte blocks called event headers (see the right figure). The first two and the last headers are special. The very first one is a EVTYPE_UNKNOWN(0x00000000) type and its size member has the total size of the TSQ file. The second and the last ones are a EVTYPE_MARK(0x00008801) type, and they have the start and the end time of the recording in their timestamp member, respectively. The other headers are all recorded user data and strictly ordered by time.
The structure of the event header is shown below. Those who are not familiar with C/C++ can refer to this variable size information: long and float (4 bytes), unsigned short (2 bytes), double and __int64 (8 bytes).
TSQ event header
1 / 2 / 3 / 4 / 5 / 6 / 7 / 8 / 9 / 10 / 11 / 12 / 13 / 14 / 15 / 16 / 17 / 18 / 19 / 20 / 21 / 22 / 23 / 24 / 25 / 26 / 27 / 28 / 29 / 30 / 31 / 32 / 33	struct tsqEventHeader / { / long size; // the length of this record in long(4 bytes) / long type; // event type / long name; // store ID, 4 chars cast to long / unsigned short chan; // channel / unsigned short sortcode; / double timestamp; / union / { / __int64 fp_loc; // file pointer location in TEV where A/D samples reside / double strobe; / }; / long format; / float frequency; / }; / // type / #define EVTYPE_UNKNOWN 0x00000000 / #define EVTYPE_STRON 0x00000101 // Strobe+, external event codes / #define EVTYPE_STROFF 0x00000102 // Strobe- / #define EVTYPE_SCALAR 0x00000201 / #define EVTYPE_STREAM 0x00008101 // Stream, local field potentials / #define EVTYPE_SNIP 0x00008201 // Snip, sorted waveforms and their timestamps / #define EVTYPE_MARK 0x00008801 / #define EVTYPE_HASDATA 0x00008000 / // format / #define DFORM_FLOAT 0 // 4 bytes / #define DFORM_LONG 1 // 4 bytes / #define DFORM_SHORT 2 // 2 bytes / #define DFORM_BYTE 3 // 1 byte / #define DFORM_DOUBLE 4

Note that some structure members may not have a meaning in some event types. For example, fp_loc is valid only for the snip- and the stream-type event headers, because only those types have digitized samples which are separately stored in the TEV file. fp_loc indicates the file pointer location in TEV where the sample data points begin. In other event types, fp_loc is filled with meaningless numbers or is used for storing strobed codes. The table below summarizes this relationship.
Value or validness of the members in TSQ header (O:valid, X:invalid)
Member	Event type			Note
	Strobe	Snip	Stream
size	10	10 + (length of A/D data in long)		This member is represented in the unit of long (4 bytes), so its value is basically 10(=40 bytes; size of the eventheader). If it is larger than 10, the difference indicates the number of A/D samples acquired for this event header. Use the formula in the second row to calculate the number of samples.
(# of A/D samples)*	N/A	(size-10) * [4 / (byte-size of format)]
channel	X	O	O	The strobe type is an external event and does not have a channel number.
sortcode	X	O	X	Only the snip type does spike-sorting.
fp_loc	X	O	O	These two members share the same memory space, therefore only one of them is valid at a time.
strobe	O	X	X
* For example, if the value of the size is 42 and the format is short(=2 bytes), then the number of A/D samples in TEV is (42-10) * (4/2) = 64. For the snip type (sorted waveforms), the format is float whose length is equal to that of long, so the number of samples simply becomes size-10.

For the stream type, sample values stored in TEV are voltages, if its format is float. However, if the format is one of the integer types (long, short or byte), raw sample values should be divided by the scaling factor, to be converted into voltages. The scaling factor is a customizable value specified in the data-saving macro. So you should refer to your RPvds circuit, to find this number.
## 3. tdtread.m: a MATLAB script reading TTank
The script shown below was tested with TDT System 3 Software v72 and OpenEx 2.12. However, using this script is at your own risk. I do not guarantee the accuracy of the results that you will get by using it. It may not work in the future if the binary format of TTank changes. (Note: It works fine with the latest v76 TDT software. 4/23/2013)
Before running the following code, you need to set the values of 4 variables on your own: tev_path, tsq_path, store_id1, and store_id2. The first two are the file paths to TEV and TSQ files, and the last two are the Store IDs of the strobed data and the stream data (e.g., ‘Evnt’ and ‘LFPs’), respectively.
tdtread.m (updated: 7/1/2013)
1 / 2 / 3 / 4 / 5 / 6 / 7 / 8 / 9 / 10 / 11 / 12 / 13 / 14 / 15 / 16 / 17 / 18 / 19 / 20 / 21 / 22 / 23 / 24 / 25 / 26 / 27 / 28 / 29 / 30 / 31 / 32 / 33 / 34 / 35 / 36 / 37 / 38 / 39 / 40 / 41 / 42 / 43 / 44 / 45 / 46 / 47 / 48 / 49 / 50 / 51 / 52 / 53 / 54 / 55 / 56 / 57 / 58 / 59 / 60 / 61 / 62	% tev_path = 'path to TEV'; / % tsq_path = 'path to TSQ'; / % store_id1 = 'Evnt'; % this is just an example / % store_id2 = 'LFPs'; % this is just an example / % open the files / tev = fopen(tev_path); / tsq = fopen(tsq_path); fseek(tsq, 0, 'eof'); ntsq = ftell(tsq)/40; fseek(tsq, 0, 'bof'); / % read from tsq / data.size = fread(tsq, [ntsq 1], 'int32', 36); fseek(tsq, 4, 'bof'); / data.type = fread(tsq, [ntsq 1], 'int32', 36); fseek(tsq, 8, 'bof'); / data.name = fread(tsq, [ntsq 1], 'uint32', 36); fseek(tsq, 12, 'bof'); / data.chan = fread(tsq, [ntsq 1], 'ushort', 38); fseek(tsq, 14, 'bof'); / data.sortcode = fread(tsq, [ntsq 1], 'ushort', 38); fseek(tsq, 16, 'bof'); / data.timestamp = fread(tsq, [ntsq 1], 'double', 32); fseek(tsq, 24, 'bof'); / data.fp_loc = fread(tsq, [ntsq 1], 'int64', 32); fseek(tsq, 24, 'bof'); / data.strobe = fread(tsq, [ntsq 1], 'double', 32); fseek(tsq, 32, 'bof'); / data.format = fread(tsq, [ntsq 1], 'int32', 36); fseek(tsq, 36, 'bof'); / data.frequency = fread(tsq, [ntsq 1], 'float', 36); / % change the unit of timestamps from sec to millisec / data.timestamp(3:end-1) = (data.timestamp(3:end-1) - data.timestamp(2)) * 1000; / % typecast Store ID (such as 'Evnt', 'eNeu', and 'LPFs') to number / name = 256.^(0:3)*double(store_id1)'; / % select tsq headers by the Store ID / row = (name == data.name); / % an example of retrieving strobed events / EVENTCODE = [data.timestamp(row) data.strobe(row)]; / % an example of reading A/D samples from tev. You can use the same code to read / % the snip-type data (sorted waveforms). Just replace the store ID. / table = { 'float', 1, 'float'; / 'long', 1, 'int32'; / 'short', 2, 'short'; / 'byte', 4, 'schar'; }; % a look-up table / name = 256.^(0:3)*double(store_id2)'; / row = (name == data.name); / first_row = find(1==row,1); / format = data.format(first_row)+1; % from 0-based to 1-based / LFP.format = table{format,1}; / LFP.sampling_rate = data.frequency(first_row); / LFP.chan_info = [data.timestamp(row) data.chan(row)]; / % For the snip type, you may want the sortcode additionally. / % SPIKE.chan_info = [data.timestamp(row) data.chan(row) data.sortcode(row)]; / fp_loc = data.fp_loc(row); / nsample = (data.size(row)-10) * table{format,2}; / LFP.sample_point = NaN(length(fp_loc),max(nsample)); / for n=1:length(fp_loc) / fseek(tev,fp_loc(n),'bof'); / % For the snip type, each row of sample_point corresponds to each waveform. / LFP.sample_point(n,1:nsample(n)) = fread(tev,[1 nsample(n)],table{format,3}); / end / % close the files / fclose(tev); / fclose(tsq);

- Categories: Computer
- Tags: MATLAB, TDT